Security Fence Replacement (2019-13)

Addendum #2

Vendor Q & A

* Addendum #2 is to provide answers to questions submitted by vendors.

Q1). At MacArthur side the city had cleared the brush but what about the trees? Also access from the IDOT side will be needed also who is responsible to clear that side?

A1). The city of Springfield public works department is in the process of clearing the trees and brush in area described. Work should be completed before fence is erected. As for the State side of the fence there may be two options. If access is needed, we can work with the district to clear it out. The other option is to move the fence out 2 feet to the right of way marker indicated by the pink ribbons on stakes placed by our survey crew. These stakes show that the current fence is two feet off current R.O.W.

Q2). There are a few trees (Crab Apples) on the south side, who is to trim those up to the 8’+ to be above the new fence?

A2). Reynolds Street is a city-maintained street and the city has been contacted as to the tree issue. We have asked them to be trimmed at the time that MacArthur area is to be cleared. I will revisit this issue today with the city arborist to request a time frame on execution. The Department will trim the trees if the city isn’t able to trim before the fence installation.

Q3). South Side posts are in concrete and asphalt is IDOT wanting the lot cut in these areas and is there patching of the lot or is the concrete the new poster are embedded in finished to the top of the existing lot?

A3). As to the removal of the post in asphalt and concrete. It would be up to the contractor on how they remove the posts. The concrete used to install the post must be finished at final surface grade in an aesthetically pleasing manner.

Q4). Who is responsible for the seeding in areas the fence is in turf and will be damaged?

A4). It is the vendor’s responsibility to repair major sections of damage.